SECTION 08110

STEEL DOORS AND FRAMES

PART  1	  GENERAL

1.1 		SECTION INCLUDES

** NOTE TO SPECIFIER **  Delete items below not required for project.

A.		Insulated Hollow Metal Doors

B.		Hollow Metal Frames

1.2 		RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

A.		Section 06200 - Finish Carpentry.

B.		Section 08150 - Pre-Assembled Door and Frame Units.

C.		Section 08210 - Wood Doors.

D.		Section 08220 - Plastic Doors.

E.		Section 08710 - Door Hardware.

F.		Section 08800 - Glazing: Field-installed glazing.

G.		Section 09900 - Paints and Coatings.

1.3 		REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

A.		ANSI A224.1 - Test Procedure and Acceptance Criteria for Prime Painted Steel Surfaces for Steel Doors and Frames.

B.		ANSI A250.3 - Test Procedure and Acceptance Criteria for Factory-Applied Finish Painted Steel Surfaces for Steel Doors and Frames.

C.		ANSI A250.4 - Test Procedure and Acceptance Criteria for Physical Endurance for Steel Doors and Hardware Reinforcements.

D.		ANSI/ISDI-104 -Water Penetration Performance Standard for Insulated Steel Door Systems.

E.		ANSI/ISDSI-103 - Acoustical Performance Standard for Insulated Steel Door Systems.

F.		ANSI/ISDSI-105 - Mechanical Performance Standard for Insulated Steel Door Systems.

G.		ANSI/SDI 100 - Recommended Specifications for Standard Steel Doors & Frames; Steel Door Institute.

H.		ASTM A 653/A 653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

I.		ASTM B 117 - Standard Method of Salt Spray (Fog) Testing.

J.		ASTM C 236 - Standard Test Method for Steady-State Thermal Performance of Building Assemblies by Means of a Guarded Hot Box.

K.		ASTM D 1735 - Standard Practice for Testing Water Resistance of Coating Using Water Fog Apparatus.

L.		ASTM E 90 - Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions.

M.		ASTM E 152 - Standard Methods of Fire Tests of Door Assemblies.

N.		ASTM E 283 - Standard Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen.

O.		ASTM E 331 - Standard Test Method for Water Penetration of Exterior Windows, Curtain Walls, and Doors by Uniform Static Air Pressure.

P.		NFPA 80 - Standard for Fire Doors and Windows.

Q.		NFPA 252 - Standard Methods of Fire Tests of Door Assemblies.

R.		SDI 105 - Recommended Erection Instructions for Steel Frames

S.		SDI 111 - Recommended Standard Details - Steel Doors and Frames.

T.		SDI 113 - Test Procedure and Acceptance Criteria for Apparent Thermal Performance for Steel Door and Frame Assemblies.

U.		SDI 114 - Test Procedure and Acceptance Criteria for Acoustical Performance for Steel Door and Frame Assemblies.

V.		SDI 116 - Test Procedure and Acceptance Criteria for Rate of Air Flow Through Closed Steel Door and Frame Assemblies.

W.		Warnock Hersey International Inc. (WHI) - Certification Listings.

X.		Uniform Building Code (UBC).

Y.		UL 10B - Standard for Fire Tests of Door Assemblies.

Z.		UL 10C - Standard for Positive Pressure Fire Tests of Door Assemblies; Underwriters Laboratory Inc.

1.4 		SYSTEM DESCRIPTION

A.		Performance Requirements:

1.		Doors:

a.		Standard 3 feet by 7 feet door to meet requirements of ANSI A250.4 procedure for Level C doors for 250,000 cycles.

b.		Thermal resistance of door without lite or louver: R-factor 6.87, U-factor of 0.146.

c.		Sound transmission class (STC) of door without lite or louver, when tested in accordance with ANSI/ISDSI-103, ASTM E 90, and SDI 114: ~STC 24 for steel stiffened doors and ~STC 32 for Polystyrene core doors.

** NOTE TO SPECIFIER **  Include the required fire resistance rating paragraph(s); Delete paragraph(s) not required.

2.		Fire-rated door and frame assemblies: Tested in accordance with UL 10B, ASTM E 152, NFPA 252, UBC 43-2, and type tested by WHI.

a.		20 minute resistance rating.

b.		45 minute resistance rating.

c.		1-1/2 hour resistance rating.

d.		3 hour resistance rating.

** NOTE TO SPECIFIER **  Include the required temperature rise paragraph(s). Delete paragraph(s) not required.

3.		Temperature rise doors:

a.		250 degrees F (121 degrees C).

b.		450 degrees F (232 degrees C).

1.5 		SUBMITTALS

A.		Submit under provisions of Section 01300.

B.		Product Data:  Manufacturer's data sheets on each product to be used, including:

1.		Preparation instructions and recommendations.

2.		Storage and handling requirements and recommendations.

3.		Installation methods.

C.		Shop Drawings: Indicate the following:

1.		Door and frame schedule in accordance with SDI 111.

2.		Locations and sizes of lites and louvers.

3.		Frame sizes, profiles, and throat depths.

4.		Hardware preparation.

** NOTE TO SPECIFIER ** Delete the following two paragraphs if no factory finished units are required. Delete selection samples paragraph if colors have already been selected.

1.6 		QUALITY ASSURANCE

A.		Manufacturer Qualifications: Member of Steel Door Institute (SDI) or Hollow Metal Manufacturers Association (HMMA).

- Installer Qualifications: Minimum two years documented experience installing products specified in this section.

1.7 		DELIVERY, STORAGE, AND HANDLING

A.		Protect products from moisture, construction traffic, and damage; store under cover.

1.		Place units upright on 4 inch (102 mm) high wood sills to prevent rust or damage.

2.		Provide 1/4 inch (6 mm) space between doors to promote air circulation.

B.		Do not use non-vented plastic or canvas shelters; should wrappers become wet, remove immediately.

1.8 		SEQUENCING

A.		Ensure that jamb anchors are available to installers of other sections in time for building-in.

1.9 		WARRANTY

A.		Provide Manufacturer's standard warranty, effective on date of purchase, against defects in product workmanship and materials; minimum 12 months for doors and frames.

PART  2	  PRODUCTS

2.1 		MANUFACTURERS

A.		Acceptable Manufacturer: Acme & Dorf Door Paterson, NJ 07513.  ASD. Tel: (973)742-2263. Toll Free: (833) 265-2263. Fax (973) 569-9859. Web: www. acmedorf.com

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

B.		Requests for substitutions will be considered in accordance with provisions of Section 01600.

C.		Unless otherwise specified for an individual product or material, supply all products specified in this section from the same manufacturer.

2.2 		MANUFACTURED UNITS

** NOTE TO SPECIFIER **  Select required hollow metal door types from the following paragraphs and delete those not required.

A.		Insulated Hollow Metal Doors: Acme & Dorf Door Insulated Hollow Metal Doors:

1.		Type:

a.		Flush door faces.

b.		Six-panel embossed door faces.

c.		Four-panel embossed door faces

d.		Indicated on drawings.

2.		Sizes: Indicated on drawings.

3.		Construction: 1-3/4 inches (44 mm) nominal thickness, and as follows:

** NOTE TO SPECIFIER **  Select required face sheet gauges and delete those not required. Our Commercial door face sheets are 12, 14, 16, and 18 gauge (1.8 mm, 1.5 mm, 1.3 mm and 1.0 mm) and our Lite Commercial face sheets are 22 & 24 gauge (0.5 and 0.2 mm).

a.		Face sheets:

1)		Doors for interior use:

a)		Minimum 18 gauge (1.3 mm) thickness.

b)		Minimum 20 gauge (1.0 mm) thickness.

2)		Doors for exterior use:

a)		Minimum 14 gauge (1.3 mm) thickness.

b)		Minimum 16 gauge (1.0 mm) thickness.

3)		Visible seams on face sheets not permitted

** NOTE TO SPECIFIER **  The following paragraphs specify standard core types. Foam injected polyurethane core available in 22 & 24 gauge (0.2 mm) models ONLY.  Honeycomb core and steel-stiffened core available for flush 16 and 18 gauge doors ONLY. Delete those that do not apply. Consult factory for options.

b.		Core:

1)		Drop in polystyrene chemically bonded to both door skins.

2)		Steel-Stiffened core with standard 22 gauge (0.5 mm) stiffeners.

c.		Vertical edges:

1)	Continuous flush interlocking seams joining face sheets.

2)	Butted edge face sheets welded to continuous 14 gauge channel reinforcement

** NOTE TO SPECIFIER ** Select paragraph required and delete the one not required. Use inverted top and bottom "U" channels for 16 and 18 gauge (1.3 mm and 1.0 mm) doors. Flush caps available, consult manufacturer for options. Use flush closures integral with face sheet for 22 and 24 gauge (0.5 and 0.2 mm) doors.

d.		Top and bottom edges:

1)		Inverted top and bottom "U" channels, flush caps available.

2)		Top and bottom edges: Flush closures, integral with face sheet construction.

** NOTE TO SPECIFIER **  The following sub-paragraph specifies standard hinge preparation, consult manufacturer for options. Use 7 gauge for full mortise 16 and 18 gauge (1.3 mm and 1.0 mm) units. Use 16 gauge (1.3 mm) for surface mounted 22 and 24 gauge (0.5 and 0.2 mm) units. Select paragraph required and delete the on not required.

e.		Hardware preparation: Doors prepared for hardware, reinforced as follows:

1)		Hinges:

a)		Minimum 7 gauge (3.4 mm) reinforcement provided for full-mortise 4-1/2 inches (114 mm) standard weight template hinges (heavy weight compatible via located in accordance with ANSI/SDI 100.

b)		Surface-mounted hinges: Concealed reinforcement of minimum 16 gauge (1.3 mm) provided for other door hardware specified in Section 08710.

2)		Lockset: Minimum 16 gauge (1.6 mm).

3)		Surface-mounted hardware: Concealed reinforcement of minimum 14 gauge (1.3 mm) provided for other door hardware specified in Section 08710.

** NOTE TO SPECIFIER **  Select the lites as required from the following paragraph. Delete if not specifying doors with lites.

f.		Lites:

1)		Fire-rated doors: Wire or Firelite type glass, minimum 3/16 inch (6 mm) thick metal light kit, with stop assembly type-tested by WHI or UL for fire resistance rating.

2)	Non-rated doors: Wire type glass, minimum 3/16 inch (6 mm) thick metal light kit

2)		Flush doors: Insulating glass units, 1/2 inch (12.5 mm) total thickness, with manufacturer's standard polyvinyl chloride (PVC) surround.

3)		Embossed-panel doors: Insulating glass units, 1/2 inch (12.5 mm) total thickness, with manufacturer's standard polyvinyl chloride (PVC) surround.

4)		Sizes: Indicated on drawings.

** NOTE TO SPECIFIER **  Select the required louvers from the following paragraphs. Delete if not specifying doors with louvers.

g.		Louvers:

1)		Fire-rated doors: Fusible-link louver, metal, gray primer finish; louver and stop assembly type-tested by WHI or UL fire resistance rating.

2)		All other doors: Inverted Vee design, metal, with manufacturer's standard metal stop insert.

3)		Sizes: Indicated on drawings.

** NOTE TO SPECIFIER **  Select one of the following two finish paragraphs. Delete paragraphs not required.

4.		Door finish: Factory-applied primer for field painting.

** NOTE TO SPECIFIER **  Select one of the following four frame options. Delete paragraphs not required.  Consult factory for frame type applications if necessary.

B.		Hollow Metal Frames: Acme & Dorf Door Hollow Metal Steel Frame.

1.		Construction: Frames constructed of galvanized steel conforming to ASTM A 653, with minimum A60 coating or cold rolled steel comforming to ASTM A366 or A620 & A568 commercial quality, , 16 gauge (1.3 mm) minimum metal thickness, and as follows:

a.		Profile: Single or Double-rabbeted for 1-3/4 inch (45 mm) door thickness, with minimum 5/8 inch (16 mm) wide trim face, single or double return to wall, and 5/8 inch (16 mm) high stop; throat dimensions indicated

b.		Corners: Mitered and coped at intersections of head and jambs, with concealed corner reinforcement and factory-installed alignment tabs for tight fit

** NOTE TO SPECIFIER **  The following paragraph specifies standard hinge preparation; consult manufacturer for options.

c.		Hardware preparation: Frames prepared for hardware, reinforced as follows:

1)		Hinges: Cut-outs and minimum 7 gauge reinforcement provided for full-mortise 4-1/2 inches (114 mm) by 4-1/2 inches (114 mm) standard weight template hinges (heavy weight compatible via grind off dimples) located in accordance with ANSI/SDI-100

2)		Strike: 12 Gauge Reinforcement for 4-7/8 inches ASA strike welded in frame, located in accordance with ANSI/SDI-100

3)		Surface-mounted hardware: Concealed reinforcement of minimum 14 gauge (1.3 mm) provided for other door hardware specified in Section 08710

4)		Silencers: Prepare frames to receive silencer buttons; three on strike side of single opening, two at head of double opening, located 1 inch each side of centerline of opening

2.		Anchoring devices: Manufacturer's standard anchoring devices for indicated opening types, minimum 6 supplied per frame, with anchoring device accessories specified in manufacturer's installation instructions

** NOTE TO SPECIFIER **  Select one of the following two finish paragraphs. Delete paragraphs not required.

3.		Frame finish: Factory-applied primer for field painting.

** NOTE TO SPECIFIER **  Delete the following paragraph if not specifying prehung units.

2.3 		FABRICATION

A.		Fabricate doors and frames to meet requirements of ANSI/SDI 100.

** NOTE TO SPECIFIER **  The following paragraph applies to welded steel frames. Delete if not required.

B.		Shop Assembly (Hollow Metal Frames): Assemble frames, face-weld joints, grind welds smooth, powder coat primer applied minimum 1.5 mil thickness after welding; ship frames with double spreader bar for added rigidity during shipping and jobsite handling.

** NOTE TO SPECIFIER **  Select one of the following paragraphs as required. Delete paragraph not required.

C.		Shop Assembly (All Frames): Ship frames knocked down, powder coat primed with minimum 1.5 mil thickness, with components for each opening packaged together in manufacturer's standard protective packaging.

2.4 		FINISH

A.		Chemical Treatment: Treat steel surfaces to promote paint adhesion.

** NOTE TO SPECIFIER ** Retain the following paragraph if Adjusta-Trim, Adjusta-Fit, or Secura-Fit frames are specified. Delete if not required.

B.		Frames: Factory-Applied Dry Powder Prime Coat: Baked-on dry powder prime coating meeting requirements of ANSI A224.1. Minimum 1.5 mil thickness.

**NOTE TO SPECIFIER**  Retain the following paragraph if Insulated Hollow Metal Doors or Commercial Steel Frames are specified. Delete if not required.

C.	Doors: Factory-Applied Baked Enamel: Electrostatically applied, forced-air oven dried acrylic enamel.

2.5 		SOURCE QUALITY CONTROL

A.		Verification of Performance:

1.		Attach fire rating seal of certifying agency to fire-rated doors and frames.

** NOTE TO SPECIFIER **  Select one of the following paragraphs. Delete the paragraph not required.

2.		Provide metal seals

PART  3	  EXECUTION

3.1 		EXAMINATION

A.		Verify that project conditions are acceptable before beginning installation of frames; verify that completed openings to receive frames are of correct size and thickness. Do not begin installation until substrates have been properly prepared.

B.		If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

** NOTE TO SPECIFIER **  The following paragraph applies to welded frames or pre-hung units. Delete if not required.

3.2 		PREPARATION

A.		Remove spreader bars provided for shipping before installing units; using spreader bars to assist installation and alignment is not permitted.

3.3 		INSTALLATION

A.		Install in accordance with manufacturer's instructions.

B.		Install frames in accordance with manufacturer's instructions, approved shop drawings, and requirements of SDI 105; in addition, install frames for fire-rated openings in accordance with requirements of NFPA 80

** NOTE TO SPECIFIER **  The following paragraph applies to Adjusta-Fit Frames or Secura-Fit Frames. Delete if not required.

C.		Installation of wood casings is specified in Section 06200

D.		Installation of door hardware is specified in Section 08710

** NOTE TO SPECIFIER **  Delete paragraph below if specifying factory finished doors and frames.

E.		Field finishing of factory-primed doors are frames is specified in Section 09900

3.4 		PROTECTION

A.		Protect installed products until completion of project.

B.		Touch-up, repair or replace damaged products before Substantial Completion.

** NOTE TO SPECIFIER **  Use the following article if a schedule is provided.  Reference a schedule or include a schedule as an attachment, which locates doors and frames.

3.5 		SCHEDULES

A.		Refer to Door and Frame Schedule appended to this section.

END OF SECTION